INTRODUCTIONINTRODUCTION
Orthotics

An orthotic device (commonly just referred to as an orthotic) is an external device applied on the body to limit motion, correct deformity, reduce axial loading, or improve function in a certain segment of the body.

Design characteristics of an orthotic device are crucial to function. Most important features include the following:

- Weight of the orthosis

- Adjustability

- Functional use

- Cosmesis

- Cost

- Durability

- Material

- Ability to fit various sizes of patients

- Ease of putting on (donning) and taking off (doffing)

- Access to tracheostomy site, peg tube, or other drains

- Access to surgical sites for wound care

- Aeration to avoid skin maceration from moisture

Indications for recommending orthotic devices include the following:

- Pain relief

- Mechanical unloading

- Scoliosis management

- Spinal immobilization after surgery

- Spinal immobilization after traumatic injury

- Compression fracture management

- Kinesthetic reminder to avoid certain movements

Duration of orthotic use is determined by the individual situation.

- In situations where spinal instability is not an issue, recommend use of an orthosis until the patient can tolerate discomfort without the brace.

- When used for stabilization after surgery or acute fractures, allow 6-12 weeks to permit ligaments and bones to heal.

Use of an orthotic device is associated with several drawbacks, including the following:

- Discomfort

- Local pain

- Osteopenia

- Skin breakdown

- Nerve compression

- Ingrown facial hair for men

- Muscle atrophy with prolonged use

- Decreased pulmonary capacity

- Increased energy expenditure with ambulation

- Difficulty donning and doffing orthosis

- Difficulty with transfers

- Psychological and physical dependency

- Increased segmental motion at ends of the orthosis

- Unsightly appearance

- Poor patient compliance

Success of the orthosis may lead to any of the following:

- Decreased pain

- Increased strength

- Improved function

- Increased proprioception

- Improved posture

- Correction of spinal curve deformity

- Protection against spinal instability

- Minimized complications

- Healing of ligaments and bones

Maintenance of orthosis:

Orthosis should be simple and durable as possible.

Patient should be taught for:

- Cleaning the leather.

- Oiling the joints.

- Wash the orthosis if possible.

Physicians must understand the biomechanics of the spine and each individual orthosis. The cervical spine is the most mobile spinal segment with flexion greater than extension. The occiput and C1 have significant flexion and extension with limited side bending and rotation. The C1-C2 complex accounts for 50% of rotation in the cervical spine. The C5-C6 region has the greatest amount of flexion and extension. The C2-C4 region has the most side bending and rotation.

When compared to the cervical and lumbar spine, the thoracic spine is the least mobile. The thoracic spine has greater flexion than extension. Lateral bending increases in a caudal direction, and axial rotation decreases in a caudal direction.

The lumbar spine has minimal axial rotation. The greatest movement in the lumbar spine is flexion and extension. Immobilization of the spine increases erector spinae muscle activity since normal rotation that occurs with ambulation is limited by the orthosis.

Biomechanichal principles of orthotic design

- The biomechanical principles of orthotic design assist in promoting control, correction, stabilization, or dynamic movement.

- All orthotic design are based on three relatively principles:

The pressure principle:

- the pressure should be equal to the total force per unit area.

Force

P = ------------------------

Area of Application

- It means that the greater the area of a pad or plastic shell of an orthosis, the less force will be placed on the skin.

- Therefore, any material that creates a force against the skin should be of dimension to minimize the force on the tissue.

The equilibrium principle:

- The sum of the forces and the bending moments created must be equal to zero.

- This means that three-point pressure or loading system occurs when three forces are applied to a  segment in such a way that a single primary force is applied between two additional counter forces with the sum of all three forces equalizing zero.

- The primary force is of a magnitude and located at a point where movement is either inhibited or facilitated, depending on the functional design of the orthosis

The lever arm principle:

- The farther the point of force from the joint the greater the moment arm and the smaller the magnitude of force required to produce a given torque at the joint.

- This why most orthosis are designed with long metal bars or plastic shells that are the length of adjacent segment.

- The greater the length of the supporting orthotic structure, the greater the moment or torque that can be placed on the joint or unstable segment.

These three principles act dependently on each other

So when designing or evaluating an orthotic devise we should check that:

- There is adequate padding covering the greatest area possible for comfort.

- The total forces acting on the involved segment is equal to zero or there is equal pressure throughout the orthosis and no areas of skin irritation.

- The length of the orthosis is suitable to provide an adequate force to creat the desired effect and to avoid increased transmission of shear forces against the anatomic tissues.

General othotic considerations:

- The forces at the interface between the orthotic materials and the skin.

- The degrees of freedom of each joint.

- The number of joint segments.

- The neuromuscular control of a segment, including strength and muscle tone.

- The material selected for orthotic fabrication.

- The activity level of the client.

- The goal of orthotic fitting is to meet the functional requirements of the client with minimal restriction.

Functional orthotic considerations:

- Alignment:

- Movement:

A) Assistance with joint motion.

B) Resistance with joint motion.

3) Weight bearing:

4) Protection:

The biomechanical principles in orthotic design include balance of horizontal forces, fluid compression, distraction, construction of a cage around the patient, placement of an irritant to serve as a kinesthetic reminder, and skeletal fixation. Construction of a cage around the patient, like a thoracolumbar brace, increases intraabdominal pressure. Increased intraabdominal pressure converts the soft abdomen into a semirigid cylinder, which helps to relieve part of the vertebral load. In general, structural damage to posterior elements of the spine creates more instability with flexion, whereas damage to anterior elements creates more instability with extension.

Orthotic devices (orthoses) are generally named by the body regions that they span. For example, a CO is a cervical orthosis, while a CTLSO is a cervicothoracolumbosacral orthosis, spanning the entire length of the spine. Many of these devices are also known by eponyms.

Types of orthosis

Orthoses are named by the joints they encompass

| Ankle-foot orthosis Knee-ankle foot orthosis Hip-Knee-ankle foot orthosis Reciprocal Gait orthosis | AFO KAFO HKAFO RGO | Foot orthosis Knee orthosis Hip orthosis | LL orthoses FO KO HO |
| --- | --- | --- | --- |
| Cervical-Thoracic orthosis Cervical-Thoracolumbosacral orthosis Thoracolumbosacral orthosis Lumbosacral orthosis | CTO CTLSO TLSO LSO | Cervical orthosis Thoracic orthosis Sacral orthosis Sacroiliac orthosis | Spinal orthoses CO TO SO SIO |
| Wrist-Hand orthosis Elbow-Wrist-Hand orthosis Shoulder-Elbow orthosis Shoulder-Elbow-Wrist-Hand orthosis | WHO EWHO SEO SEWHO | Hand orthosis Wrist orthosis Elbow orthosis Shoulder orthosis | UL orthoses HdO WO EO SO |

Cervical Orthotics

Several drawbacks to cervical orthotic (CO) use have been noted. The soft tissue structures around the neck (eg, blood vessels, esophagus, trachea) limit application of aggressive external force. The high level of mobility at all segments of the cervical spine makes it difficult to restrict motion. Cervical orthoses offer no control for the head or thorax; therefore, motion restriction is minimal. Cervical orthoses serve as a kinesthetic reminder to limit neck movement.

Observe appropriate precautions associated with orthotic use. Keep in mind that continued long-term use has been associated with decreased muscle function and dependency.

The soft collar is a common orthotic device made of lightweight material, polyurethane foam rubber, with a stockinette cover. It has Velcro closure strap for easy donning and doffing. Patients find the collar comfortable to wear, but it is soiled easily with long-term use.

Soft collar

Indications for use of the soft collar include the following benefits for the patient:

- Warmth

- Psychological comfort

- Support to the head during acute neck pain

- Relief with minor muscle spasm associated with spondylolysis

- Relief in cervical strains

The soft collar provides some limitations of motion for the patient, including the following:

- Limits full flexion and extension by 5-15%

- Limits full lateral bending by 5-10%

- Limits full rotation by 10-17%

The hard cervical collars are similar in shape to a soft collar but are made of Plastizote, a rigid polyethylene material shaped like a ring with padding. Height can be adjusted in certain designs to fit patients better. Velcro straps are used for easy donning and doffing. The hard collar is more durable than a soft collar with long-term use.

Malibu collar

Several problems can be alleviated with use of a hard collar. The indications include the following:

- Support to the head during acute neck pain

- Relief of minor muscle spasm associated with spondylosis

- Psychological comfort

- Interim stability and protection during halo application

Motion restrictions for the hard collar include the following:

- Limits full flexion and extension by 20-25%

- Less effective in restricting rotation and lateral bending

- Better than a soft collar in motion restriction

Head Cervical Orthotics

Head cervical orthotics (HCOs) include the occiput and chin to decrease range of motion (ROM). Supported chin area is a common place for skin breakdown and ingrown hair for men. The clavicle is another area for skin breakdown and discomfort with HCOs. HCOs generally are used in stable spine conditions. Like in the case of cervical orthotics, continued long-term use of HCOs has been associated with decreased muscle function and dependency.

The Philadelphia collar is a semirigid HCO with a 2-piece system of Plastizote foam. Plastic struts on the anterior and posterior sides are used for support. The upper portion of the orthosis supports the lower jaw and occiput, while the lower portion covers the upper thoracic region. The Philadelphia collar comes in various sizes and is comfortable to wear, improving patient compliance. Velcro straps are used for easy donning and doffing. The Philadelphia collar is difficult to clean and becomes soiled very easily. An anterior hole for a tracheostomy is available. A thoracic extension can be added to increase motion restriction and treat C6-T2 injuries.

Philadelphia collar with a thoracic extension

Motion restrictions for the Philadelphia collar include the following:

- Limits flexion and extension by 65-70%

- Limits rotation by 60-65%

- Limits lateral bending by 30-35%

The goal of the Philadelphia collar is to provide immobilization and is indicated after the following:

- Anterior cervical fusion

- Halo removal

- Dens type I cervical fracture of C2

- Anterior diskectomy

- Suspected cervical trauma in unconscious patients

- Tear-drop fracture of the vertebral body (Note: Some tear-drop fractures require anterior decompression and fusion.)

- Cervical strai

The Miami J collar

is another cervical orthotic device in common use. The Miami J collar has a 2-piece system made of polyethylene and a soft washable lining. The anterior piece has a tracheostomy opening similar to that in the Philadelphia collar. Velcro straps provide easy donning and doffing. The Miami J collar is a semi-rigid HCO. A thoracic extension can be added to increase support and treat C6-T2 injuries. The Miami J collar is available in various sizes and can be heated and molded to a contoured fit.

Miami J collar

Motion restrictions with the Miami J collar include the following:

- Limits flexion and extension by 55-75%

- Limits rotation by 70%

- Limits lateral bending by 60%

Indications for use of a Miami J collar are the same as the Philadelphia collar.

The Malibu collar is similar to the Philadelphia collar as it is a semi-rigid orthosis designed in a 2-piece system with an anterior opening for a tracheostomy. The Malibu collar comes in only one size, but it is adjustable in multiple planes to ensure proper fit. Anterior chin support height is also adjustable. Straps around the chin, occiput, and lower cervical area provide for tightening. Padding around the chin can be trimmed to ensure proper fit. Thoracic extension can be added to increase support and treat C6-T2 injuries.

Motion restrictions for the Malibu collar include the following:

- Limits flexion and extension by 55-60%

- Limits rotation by 60%

- Limits lateral bending by 60%

Indications for use of a Malibu collar are similar to those for the Miami J and Philadelphia collars.

The Aspen Collar has a 2-piece system made of polyethylene with soft foam liner with an anterior opening for a tracheostomy. The Aspen collar is a semi-rigid HCO with Velcro straps for easy donning and doffing.

Motion restrictions mirror those of the Miami J collar and include the following:

- Limits flexion and extension by 55-60%

- Limits rotation by 60%

- Limits lateral bending by 60%

Indications for use of the Aspen collar include the same as the HCOs discussed above. The Jobst Vertebrace is made of high-density polyethylene with soft polyethylene foam liner. The Jobst Vertebrace is a semi-rigid HCO designed for use in emergent transport situations, and it is similar to the Yale or Philadelphia collar in restricting motion. The Jobst Vertebrace provides full contact along its costal ends to the sternum and cradles the mandible for stability.

Motion restrictions for the Jobst Vertebrace are similar to those of the Yale and Philadelphia collars, including the following:

The Jobst Vertebrace is made of high-density polyethylene with soft polyethylene foam liner. The Jobst Vertebrace is a semi-rigid HCO designed for use in emergent transport situations, and it is similar to the Yale or Philadelphia collar in restricting motion. The Jobst Vertebrace provides full contact along its costal ends to the sternum and cradles the mandible for stability. Motion restrictions for the Jobst Vertebrace are similar to those of the Yale and Philadelphia collars, including the following:

- Limits flexion and extension by 55-60%

- Limits rotation by 60%

- Limits lateral bending by 60%

Indications for use of the Jobst Vertebrace are similar to those for the Miami J and Philadelphia collars

Cervical Thoracic Orthotics

Cervical thoracic orthotics (CTOs) provide greater motion restriction in the middle to lower cervical spine from the added pressure on the body. The upper cervical spine has less motion restriction. CTOs are used in minimally unstable fractures.

The Sternal-Occipital-Mandibular-Immobilizer is a rigid three-poster CTO with anterior chest plate that extends to the xiphoid process and has metal or plastic bars that curve over the shoulder. Straps from the metal bars go over the shoulder and cross to the opposite side of the anterior plate for fixation. A removable chin piece attaches to the chest plate with an optional headpiece that can be used when the chin piece is removed for eating. The two-poster CTOs start from the chest plate and attach to the occipital component. The SOMI is ideal for bedridden patients since it has no posterior rods.

Sternooccipital-mandibular immobilization brace

The SOMI is relatively comfortable to wear. Proper adjustment is crucial for motion restriction; in fact, motion restriction may be minimal with incorrect application. The SOMI is less effective compared to other braces in controlling extension, but it is very effective in controlling flexion at the atlantoaxial and C2-C3 segments. The SOMI is better than the cervicothoracic brace in controlling flexion in the C1-C3 segments.

Indications for use of the SOMI include the following:

- Immobilization in atlantoaxial instability because of rheumatoid arthritis (Note: Ligamentous disruption in rheumatoid arthritis affects flexion more than extension since extension is held in check by the intact dens.)

- Immobilization for neural arch fractures of C2 since flexion causes instability

Motion restrictions with the SOMI include the following:

- Limits cervical flexion and extension by 70%-75%

- Limits lateral bending by 35%

- Limits rotation by 60-65%

The Yale orthosis is a modified Philadelphia collar with thoracic extension made of fiberglass extending anteriorly and posteriorly with mid-thoracic straps on the sides connecting the 2 thoracic extensions. The thoracic component helps to treat C6-T2 injuries. The occipital piece extends higher up on the skull posteriorly. Increased contact surface area improves stability of the brace. Patients find the Yale orthosis comfortable to wear. The Yale orthosis is easy to fabricate and costs approximately

Various indications for use of the Yale orthosis include the following:

- Immobilization to C1 fractures with intact transverse ligament

- Immobilization after surgical fixation of Dens Type III fractures

- Immobilization to Dens type I fractures

- Immobilization to Hangman fractures (traumatic spondylolisthesis of C2)

- Immobilization to Jefferson fractures (multiple fractures of C1 ring with spreading due to axial loading)

- Provide immobilization to postoperative fixation

Motion restrictions for the Yale orthosis include the following:

- Limits flexion and extension by 85%

- Limits rotation by 70% to 75%

- Limits lateral bending by 60%

The four-poster brace is a rigid orthosis with anterior and posterior chest pads connected by a leather strap. Molded occipital and mandibular support pieces connect to the chest pads and have adjustable struts. Straps connect the occipital and mandibular support pieces. The mandibular plate can interfere with eating. This brace uses shoulder straps, but it has no underarm support. Open design allows heat loss from the neck. The brace is as effective as the cervicothoracic brace in controlling flexion in the mid-cervical area and is better than the Philadelphia collar. The four-poster design limits lateral bending and rotation better than the two-poster brace.

Motion restrictions provided by the four-poster orthosis include the following:

- Limits flexion and extension by 80%

- Limits lateral bending by 55%-80%

- Limits rotation by 70%

The Guilford brace is a rigid CTO with a two-poster design with anterior chest plate and shoulder straps that connect to the posterior plate. Chin plate and occipital piece connect to the anterior and posterior struts. Underarm straps circle the lower chest wall for stability. The brace has poor control of flexion, extension, rotation, and lateral bending at C1-C2. Motion restrictions afforded by the Guilford brace include limitation of flexion and extension from C3-T2.

Indications for use of the Guilford brace include the following:

- Immobilization to minimally unstable fractures from C3-T2

- Immobilization after postoperative internal fixation from C3-T2

Halo device

The halo device is the most common device for treatment of unstable cervical and upper thoracic fractures and dislocations as low as T3. The halo provides maximum motion restriction of all cervical orthotics. The halo ring is made of graphite or metal with pin fixation on the frontal and parietal-occipital areas of the skull. Development of lightweight composite material led to design of radiolucent rings compatible with magnetic resonance imaging (MRI). The halo ring attaches to the vest anteriorly and posteriorly via 4 posters.

Halo device.

The halo vest has shoulder and underarm straps for tightening and usually is made of rigid polyethylene and extends down to the umbilicus. Restriction in cervical motion depends on the fit of the halo vest since improper fit can allow 31% of normal spine motion. The halo vest is the weak link in terms of motion control. Compressive and distractive force can occur with variable fit of the vest.

Multidirectional shear forces can cause increased pinhole size with craterlike enlargement. Pin loosening occurs twice as frequently with a heavier halo vest. Generally, upper cervical spine injuries are treated best with a full-length vest to the iliac crest.

Indications for use of a halo device are for immobilization in the following cases:

- Dens type I, II, and III fractures of C2 (Note: Dens type III fractures of C2 are treated more successfully with surgery.)

- C1 fractures with rupture of the transverse ligament

- Atlantoaxial instability from rheumatoid arthritis with ligamentous disruption and erosion of the dens

- C2 neural arch fracture and disc disruption between C2 and C3. (Note: Some patients may need surgery for stabilization.)

- Bony single column cervical fractures

- Following cervical arthrodesis

- Following cervical tumor resection in an unstable spine

- Following debridement and drainage of infection in an unstable spine

- Following spinal cord injury (SCI)

Contraindications for use of the halo device include the following:

- Concomitant skull fracture with cervical injury

- Damaged or infected skin over pin insertion sites

The relative contraindications for use of the halo device include the following:

- Cervical instability with ligamentous disruption

- Cervical instability with 2 or 3 column injury

- Cervical instability with rotational injury involving facet joints

The application process for the halo device consists of several steps. Optimal placement for the anterior pins is the anterolateral aspect of the skull 1 cm above the orbital rim on the lateral part of orbit since this prevents penetration into the orbit. Avoid placing pins in the temporalis muscle and through the zygomaticotemporal nerve, which supplies sensation to the temporal area. Pins inserted into the temporalis muscle affect mandibular motion and cause pain. Placement away from the medial one third on the orbital rim preserves the supraorbital and supratrochlear nerves and decreases risk of entering the frontal sinus.

Insertion of posterior pins on the posterolateral aspect of the skull is less crucial. Skin incisions are not necessary prior to pin placement. The halo ring should be 1 cm above the top of the ear. Place all pins perpendicular to the skull, and allow 1-2 cm clearance with the halo ring along the skull perimeter.

In adults, pin insertion requires a torque wrench set at 8 inches per pound since this lowers incidence of pin infection and loosening. In children, set the torque wrench between 2-5 inches per pound since the skull is too weak to sustain heavier forces. Use multiple pin sites in children because of the weaker skull.

Determine the halo vest size by measuring chest circumference at the xiphoid process. Elevate the patient at 30-40° for vest placement. Secure the posterior portion to the halo first, then to the anterior part of the vest. Tighten the bolts on the vest to a torque setting of 28 feet per pound. Tools for the vest sometimes are taped to the anterior part of the vest in case of emergency.

At 24-48 hours after placement, recheck all pins for loosening. Clean the pin sites with saline or soap and water on a sterile swab. Take x-rays immediately after halo placement and after any adjustment to check spinal alignment. Shaking of the cervical spine because of forced movement against the orthosis or changes in pin tightening can cause some segmental motion. Symptoms of dysphagia may result from placement of the neck in too much extension. Repositioning of the halo, if possible, can eliminate dysphagia.

Motion restrictions provided by the halo include the following:

- Limits flexion and extension by 90-96%

- Limits lateral bending by 92-96%

- Limits rotation by 98-99%

Various complications associated with halo placement include the following:

- Neck pain or stiffness 80%

- Pin loosening 60%

- Pin site infection 22%

- Scars 30%

- Pain at pin sites 18%

- Pressure sores 11%

- Redislocation 10%

- Restricted ventilation 8%

- Dysphagia 2%

- Nerve injury 2%

- Dural puncture 1%

- Neurological deterioration 1%

- Avascular necrosis of the dens

- Ring migration

- Inadequate bony healing

- Inadequate ligamentous healing

In use of the halo device, keep in mind the following important considerations:

- The halo fixation device is used for 3 months to allow adequate time for bone healing.

- Use of an HCO after removal of the halo provides some support for the head, as the neck muscles are weak and stiff.

- Approximately 40-45% of patients with facet joint dislocations achieve stability with the halo vest, whereas 70% of patients without facet joint dislocations achieve stability.

- Nearly 75% of patients without facet joint dislocation achieve good anatomic results.

- Surgical stabilization in cases of facet joint dislocation improves outcome.

- Patients with facet joint dislocation have higher likelihood of spinal cord injury.

- Thorough neurologic examination before and after reduction of facet joint dislocation is important.

The best orthotic device to control various cervical regions is indicated as follows:

- All orthotics tend to control flexion better than extension.

- The halo is the most effective in controlling flexion and extension at C1-C3, followed by the four-poster brace, and then the cervicothoracic orthotics.

- The cervicothoracic orthotics are best at controlling flexion and extension at C3-T1, while the SOMI brace is best at controlling flexion from C1-C5.

- The SOMI is less effective in controlling extension compared to other orthotics.

- The halo is the best at controlling rotation and lateral bending from C1-C3.

- The cervicothoracic brace is second best at controlling rotation and lateral bending in the cervical spine.

- The four-poster brace is slightly better at controlling lateral bending compared to the cervicothoracic brace in the cervical spine.

Thoracolumber orthotics

Thoracolumbar orthotics (TLOs) are used mainly to treat fractures from T10-L2 since their mobility is not restricted by the ribs, unlike fractures from T2-T9. Immobilization from T10-L2 helps prevent further collapse.

The cruciform anterior spinal hyperextension (CASH) brace features anterior sternal and pubic pads to produce force opposed by the posterior pad and strap around the thoracolumbar region. Sternal and pelvic pads attach to the anterior metal cross-shaped bar, which can be bent to reduce excess pressure on the chest and pelvis. The brace is easy to don and doff, but it is difficult to adjust. Compared to the Jewett brace, it provides greater breast and axillary pressure relief. Two round upper chest pads can be used instead of the sternal pad to decrease discomfort around the breast area.

Indications for the CASH brace include the following:

- Flexion immobilization to treat thoracic and lumbar vertebral body fractures

- Reduction of kyphosis in patients with osteoporosis

Motion restrictions provided by the CASH brace include the following:

- Limits flexion and extension from T6-L1

- Ineffective in limiting lateral bending and rotation of the upper lumbar spine

Contraindications to use of the CASH brace include the following:

- Three-column spine fractures involving anterior, middle, and posterior spinal structures

- Compression fractures due to osteoporosis

The Jewett hyperextension brace uses a 3-point pressure system with 1 posterior and 2 anterior pads. The anterior pads place pressure over the sternum and pubic symphysis. The posterior pad places opposing pressure in the mid-thoracic region. The posterior pad keeps the spine in an extended position, and it has a lightweight design that is more comfortable than the CASH brace. Pelvic and sternal pads can be adjusted from the lateral axillary bar where they attach. The pads can cause discomfort from pressure applied to small surface area. No abdominal support is provided with this device. When the patient is seated, the sternal pad should be half an inch inferior to the sternal notch, and the pubic pad should be half an inch superior to the pubic symphysis. The Jewett brace is not a custom-molded brace.

Jewett® hyperextension brace

Indications for use of the Jewett brace include the following:

- Symptomatic relief of compression fractures not due to osteoporosis

- Immobilization after surgical stabilization of thoracolumbar fractures

Motion restrictions provided by the Jewett brace include the following:

- Limits flexion and extension between T6-L1

- Ineffective in limiting lateral bending and rotation of the upper lumbar spine

Contraindications to use the Jewett brace include the following:

- Three column spine fractures involving anterior, middle, and posterior spinal structures

- Compression fractures above T6 since segmental motion increases above the sternal pad

- Compression fractures due to osteoporosis

One important consideration in use of the Jewett brace is that it is more effective than the CASH brace. The Korsain brace is a modification of the Jewett brace with added abdominal support for increased rigidity. The cost of the Korsain brace is similar to that of the Jewett brace.

Indications for the Korsain brace include the following:

- Symptomatic relief of compression fractures not due to osteoporosis

- Immobilization after surgical stabilization of thoracolumbar fractures

- Flexion immobilization to treat thoracic and lumbar vertebral body fractures

Motion restrictions and contraindications of the Korsain brace are similar to the Jewett brace.

The Knight-Taylor brace features a corset type front with lateral and posterior uprights and shoulder straps to help reduce lateral bending, flexion, and extension. Shoulder straps may cause discomfort in some patients. The brace can be prefabricated and made with polyvinyl chloride or aluminum. The posterior portion of the brace has added cross supports below the inferior angle of the scapula and a pelvic band fitted at the sacrococcygeal junction. The anterior corset is made of canvas and provides intracavitary pressure. The anterior corset is laced to the lateral uprights. The brace is indicated to provide flexion immobilization to treat thoracic and lumbar vertebral body fractures.

Cruciform anterior spinal hyperextension brace with round anterior chest pads.

Motion restrictions of the Knight-Taylor brace include the following:

- Poor rotation control

- Limits flexion, extension, and lateral bending

Custom-molded plastic body jacket, or thoracolumbosacral orthosis (TLSO), is fabricated from polypropylene or plastic and offers best control in all planes of motion and increases intracavitary pressure. This orthosis has a lightweight design and is easy to don and doff. The material is easy to clean and comfortable to wear. This brace sometimes is referred to as the clamshell. The TLSO provides efficient force transmission as pressure is distributed over wide surface area, which is ideal for use in patients with neurologic injuries. The brace may have a tendency to ride up on the patient in a supine position. Plastic retains heat, so an undershirt helps to absorb perspiration and protect the skin. Frequent checks to ensure proper fit help prevent pressure ulcers.

Custom-molded plastic lumbosacral orthosis

Indications for the TLSO include the following:

- Immobilization for compression fractures from osteoporosis

- Immobilization after surgical stabilization for spinal fractures

- Bracing for idiopathic scoliosis

- Immobilization for unstable spinal disorders for T3 to L3

Motion restrictions for the TLSO include the following:

- Limits sidebending

- Limits flexion and extension

- Limits rotation to some extent

Clinical information on the custom-molded TLSO suggests that it is more effective in preventing idiopathic scoliosis curve progression than the Milwaukee and Charleston braces. The mean curve progression with TLSO is less than 2° while the Charleston and Milwaukee braces have a curve progression greater than 6°. Fewer than 18% of patients treated with TLSO brace required surgery for scoliosis compared to 23% for patients treated with a Milwaukee brace

Lumbosacral orthotics

The chairback brace is a rigid short lumbosacral orthotic (LSO) with 2 posterior uprights with thoracic and pelvic bands. The abdominal apron has straps in front for adjustment to increase intracavitary pressure. The thoracic band is located 1 inch below the inferior angle of scapula. The thoracic band extends laterally to the mid-axillary line, and the pelvic band extends laterally to the mid-trochanteric line. Place the pelvic band as low as possible without interfering with sitting comfort. Position the posterior uprights over the paraspinal muscles. Uprights can be made from metal or plastic. The brace uses a 3-point pressure system and can be custom molded to improve the fit for each individual patient.

Chairback brace from side view

Indications for use of the chairback brace include the following:

- Unloading of the intervertebral discs and transmit pressure to soft tissue areas

- Relief for low back pain (LBP)

- Immobilization after lumbar laminectomy

- Kinesthetic reminder to patient following surgery

Motion restrictions of the chairback brace include the following:

- Limits flexion and extension at the L1-L4 level

- Limits rotation minimally

- Limits lateral bending by 45% in the thoracolumbar spine

The chairback Ortho-Mold brace is similar to the chairback brace, but it has a rigid plastic back piece custom molded to the patient. The plastic back can be inserted into the canvas and elastic corset. The chairback Ortho-Mold brace costs approximately $500-600.

Indications for use of the chairback Ortho-Mold brace and its motion restrictions are the same as the chairback brace noted above..

The Williams brace is a short LSO with an anterior elastic apron to allow for forward flexion. Lateral uprights attach to the thoracic band, and oblique bars are used to connect the pelvic band to the lateral uprights. The abdominal apron is laced to the lateral uprights. The brace limits extension and lateral trunk movement but allows forward flexion. The brace is indicated to provide motion restriction during extension to treat spondylolysis and spondylolisthesis. The device is contraindicated in spinal compression fractures.

Motion restrictions of the Williams brace include the following:

- Limits extension

- Limits side bending at terminal ends only

The MacAusland brace is an LSO that limits only flexion and extension. This brace has 2 posterior uprights but no lateral uprights. The 3 anteriorly directed straps connect with the abdominal apron to provide increased support. The MacAusland brace costs approximately $510.

Indications for use of the MacAusland brace are similar to the chairback brace. Motion restrictions include limitation of flexion and extension in the L1 to L4 level.

The Standard LSO corset has metal bars within the cloth material posteriorly that can be removed and adjusted to fit the patient. The anterior abdominal apron has pull-up laces from the back to tighten. The abdominal apron can come with Velcro closure for easy donning and doffing. The Standard LSO corset has a lightweight design and is comfortable to wear. The corset increases intracavitary pressure. Anteriorly, the brace covers the area between the xiphoid process and pubic symphysis. Posteriorly, the brace covers the area between the lower scapula and gluteal fold. Average cost for the corset is approximately $150.

Indications for the Standard LSO corset include the following:

- Treatment of LBP

- Immobilization after lumbar laminectomy

Motion restrictions of the Standard LSO corset include limitation of flexion and extension.

The rigid LSO is a custom-made orthosis molded over the iliac crest for improved fit. Plastic anterior and posterior shells overlap for a tight fit. Velcro closure in the front is designed for easy donning and doffing. Multiple holes can be made for aeration to help decrease moisture and limit skin maceration. The rigid LSO can be trimmed easily to make adjustments for patient comfort and may be used in the shower if needed. A rigid LSO costs approximately $500-700.

Indications for use of the rigid LSO brace include the following:

- Post-surgical lumbar immobilization

- Treatment of lumbar compression fractures

Motion restrictions provided by the rigid LSO brace include the following:

- Limits flexion and extension

- Limits some rotation and side bending

Rigid LSO with hip spica uses a thigh piece on the symptomatic side and extends to 5 cm above the patella. The hip is held in 20° of flexion to allow sitting and walking. Some patients require a cane for ambulation after application. Average cost of a rigid LSO with hip spica is about $1100.

Indications for the rigid LSO with hip spica use include the following:

- Immobilization to treat lumbar instability from L3-S1

- Immobilization after lumbosacral fusion with anchoring to the sacrum

Motion restrictions of the rigid LSO with hip spica include the following:

- Limits flexion and extension

- Limits some rotation and side bending

New brace designs for LSO have strapping systems designed to pull the brace inward and up to improve hydrostatic affect to relieve pressure on the lumbar spine. The better fit helps limit migration. Some low-profile designs take pressure off the hip and rib area, which, in turn, improves patient compliance. Low-profile braces allow easier fitting under clothes. These braces can treat areas from L3-S1.

Some spinal braces come with an interchangeable back with an open center or flat back design for postoperative patients. The same brace can be interchanged with a back that has an indentation to fit the lordotic curvature of the lumbar spine for pain management purposes. Braces with interchangeable parts allow a LSO to be converted into a TLSO with a large back support and an attachment for a sternal extension to prevent unwanted flexion. The sternal extension has straps that attach to the LSO.

BRACING FOR SCOLIOS

S Bracing for scoliosis

The main goal of a brace in scoliosis is to prevent further deformity and prevent or delay need for surgery. If surgery is needed, delaying the procedure as long as possible helps optimize spinal height and avoid stunting of truncal growth.

Assessing the degree of skeletal maturity in a child with scoliosis is important because with more advanced skeletal maturity, you expect less further skeletal growth and thus less progression of the scoliosis. This has obvious implications when forming a treatment plan.

Risser classification of ossification of the iliac epiphysis is used to evaluate skeletal immaturity. Ossification of the iliac crest occurs from the anterior superior iliac spine (ASIS) to the posterior superior iliac spine (PSIS). When ossification is complete, fusion of the epiphysis occurs to the iliac crest. Risser staging is based on using radiographs to determine what percent of the excursion (along the length of the iliac epiphysis) has ossified. Risser score of 0-I with a curve of 20-30° indicates nearly 70% chance of progression.

Risser stages are defined as follows:

- Stage 0 = 0% excursion

- Stage I = 25% excursion

- Stage II = 50% excursion

- Stage III = 75% excursion

- Stage IV = 100% excursion and correlates with end of spinal growth

- Stage V = fusion to ilium, indicating cessation of vertical height growth

The clinician must take into account several bits of clinical information about use of braces in scoliosis including the following:

- Patients with pre-brace curves of 20-29° require surgery in only 3% of cases, whereas 28% of patients with pre-brace curves of 40-49° require surgery.

- Patients aged younger than 13 years with curves of 30-39° require surgery 25% of the time, whereas only 14% of patients older than 14 years with curves 30-39° require surgery.

- The most common time to lose control of idiopathic curves is at puberty. Boys tend to show less curve progression than girls, and tend to have later onset of curve progression between 15-18 years.

- Younger patients show greater initial in-brace correction. Curve correction with bracing greater than 50% is expected to have final net correction, whereas curve correction less than 50% is expected to have limited progression.

- Generally, curves between T8-L2 have the best correction. Young patients with large curves usually fail treatment with a brace.

- Patients successfully completing treatment for idiopathic scoliosis using a TLSO with initial curves measuring 20-45° can anticipate their scoliosis to remain stable until adulthood. The correction of the curvature can be lost over time, to its initial magnitude. Therefore, obtaining a spinal radiograph in the third or fourth decade of life to check progression is reasonable.

The Milwaukee brace is a CTLSO originally designed by Blount and Schmidt to help maintain postoperative correction in patients with scoliosis secondary to polio. The brace is designed to stimulate corrective forces from the patient. When the patient has been fitted properly with a brace, the trunk muscles are in constant use; therefore, disuse atrophy does not occur. The brace has an open design with constant force provided by the plastic pelvic mold. The pelvic portion helps reduce lordosis, derotates the spine, and corrects frontal deformity.

Uprights have localized pads to apply transverse force, which is effective for small curves. The main corrective force is the thoracic pad, which attaches to the 2 posterior uprights and 1 anterior upright. Discomfort from the thoracic pad creates a righting response to an upright posture. The lumbar pads play a passive role compared to the thoracic pads.

The uprights are perpendicular to the pelvic section, so any leg-length discrepancy should be corrected to level the pelvis. The neck ring is another corrective force and is designed to give longitudinal traction. Jaw deformity is a potential complication of the neck ring. The throat mold, instead of a mandibular mold, allows use of distractive force without jaw deformity.

During the child's growth, brace length can be adjusted. Pads also can be changed to compensate for spinal growth. The brace needs to be changed if pelvic size increases. Average cost of this brace is approximately

Indications for use of the Milwaukee brace include the following:

- Patients with Risser score of I-II and curves greater than 20-30° that progress by 5° over 1 year need application of brace.

- Curves between 30-40° need bracing, but not curves less than 20°.

- Curves of 20-30°, with no year-over-year progression, require observation every 4-6 months. The Milwaukee brace is used for curves with apex above T7.

Duration of the Milwaukee brace use is determined by the following criteria:

- Daily use ranges from 16-23 hours per day.

- Treatment should continue until the patient is at Risser stage IV or V.

- If curve is greater than 30°, consider continued use for 1-2 years after maturity since patients with curves of this magnitude are at risk for progression.

Side effects of the Milwaukee brace include the following:

- Jaw deformity

- Pain

- Skin breakdown

- Unsightly appearance

- Difficulty with mobility

- Difficulty with transfers

- Increased energy expenditure with ambulation

Failure to correct deformity can be caused by any of the following:

- Poor patient compliance

- Improper fit

- Curves below T7

Keep in mind clinical information regarding use of the Milwaukee brace, including the following:

- Only 40% of patients with curves of

- 20-29° progressed with a Milwaukee brace, compared to 68% by natural history without bracing.

- When comparing the Milwaukee and Boston braces, note that curve progression beyond 45° occurred in 31% of patients with the Boston brace and in 62% with the Milwaukee brace.

- X-rays to evaluate scoliosis in the Milwaukee brace are performed with the patient in a standing position.

- Successful outcomes with brace treatment show an in-brace curve reduction greater than 50%.

- The Milwaukee brace and a custom-made TLSO can be used to treat Scheuermann kyphosis in children with pain, or pain with kyphosis greater than 60°.

The Boston brace is a prefabricated symmetric thoracolumbar-pelvic mold with built-in lumbar flexion that can be worn under clothes. Lumbar flexion is achieved through posterior flattening of the brace and extending of the mold distally to the buttock. Braces with superstructures have a curve apex above T7. Curves with an apex at or below T7 do not require superstructures to immobilize cervical spine movement. This brace, unlike the Milwaukee brace, cannot be adjusted if the patient grows in height. Both braces need to be changed if pelvic size increases. Average cost of the Boston brace is approximately $2000.

Indications for use of the Boston brace include the following:

- Curves 20-25° with 10° progression over 1 year

- Curves 25-30° with 5° progression over 1 year

- Skeletally immature patients with curves 30° or greater

Side effects associated with use of the Boston brace include the following:

- Local discomfort

- Hip flexion contracture

- Trunk weakness

- Increased abdominal pressure

- Skin breakdown

- Accentuation of hypokyphosis above brace in the thoracic spine

Certain preventive measures can reduce difficulties associated with use of the Boston brace, including the following:

- Regimen of hip stretches decreases contractures at the hip.

- Exercise to promote active correction in the brace is suggested.

Presence of thoracic hypokyphosis is a relative contraindication for use of the Boston brace.

Failure of the Boston brace to correct deformity can occur because of several factors, including the following:

- Curve above T7

- Improper fit

- Poor patient compliance

Duration of Boston brace use is determined by several factors, including the following:

- Daily use ranges from 16-23 hours per day.

- Treatment should continue until the patient is at Risser stage IV or V.

- If the curve is greater than 30°, consider continued use for 1-2 years after maturity since these curves are at risk for progression.

- The Boston brace with and without superstructure is equally effective in treating curves below T7.

Clinical information relevant to use of the Boston brace includes the following:

- The Boston brace is more effective than the Charleston brace in preventing curve progression and avoiding surgery.

- Nearly 43% of patients using the Boston brace progressed more than 5°, compared to 83% with the Charleston brace.

- The use of a Charleston brace is only indicated with lumbar or small thoracolumbar curves; avoid use in thoracic curves.

- X-rays to evaluate scoliosis in the Boston brace are performed with the patient in a standing position.

- Successful outcomes with brace treatment show an in-brace curve reduction greater than 50%.

The Charleston bending brace is a rigid custom-made orthosis designed to correct scoliosis at nighttime to improve patient compliance. This brace holds the patient in maximum side-bending correction. The Charleston bending brace costs approximately $2000.

Indications for use of this particular brace include the following:

- Curves 20-25° with 10° progression over 1 year

- Curves 25-30° with 5° progression over 1 year

- Skeletally immature patients with curves 30° or greater

Clinical information regarding use of the Charleston bending brace includes the following:

- The Charleston brace, compared to the Boston brace, is significantly less effective in treating double major curves and single thoracic curves in patients with Risser stage 0 to 1.

- Over 50% of patients with a single thoracic curve treated with a Charleston brace required surgery compared to 24% with the Boston brace.

- As a result, the Charleston brace is not recommended for use in thoracic curves.

- The Charleston brace is less effective at treating single thoracolumbar or lumbar curves, but the figures are not statistically significant compared to those for the Boston brace.

- X-rays to evaluate scoliosis with the Charleston bending brace are performed in a supine position since the patient wears it at night sleeping supine.

- Successful outcomes with brace treatment show an in-brace curve reduction greater than 50%.

lower limb orthosis

A lower limb orthosis is an external device applied or attached to a lower body segment to improve function by controlling motion, providing support through stabilizing gait, reducing pain through transferring load to another area, correcting flexible deformities, and preventing progression of fixed deformities.

Terminology

Orthosis (or orthotic device) is the medical term for what most people would refer to as a brace or splint. Orthoses generally are named by the body regions that they involve, as demonstrated by the following abbreviations:

- AFO is an ankle-foot orthosis.

- KAFO is a knee-ankle-foot orthosis.

- HKAFO is a hip-knee-ankle-foot orthosis.

- THKAFO is a trunk-hip-knee-ankle-foot orthosis.

Locomotion and gait

The total mass of the body can be considered concentrated at one point, called the center of gravity. The center of mass is located in the midline, just anterior to the second sacral vertebra while the individual is standing and walking. The center of mass changes with the configuration and function of the body.

The line of gravity is a line passing through the center of gravity to the center of the earth. This line (1) arises from the supporting surface between the ball and heel of the foot, then (2) passes in front of the ankle and knee joints and slightly behind the hip joint to the center of gravity, then (3) passes through the lumbosacral junction and behind the lumbar vertebral bodies to intersect the spine at the thoracolumbar junction, then (4) continues in front of the thoracic vertebral bodies and through the cervicothoracic junction, and, lastly, (5) travels behind the cervical vertebral bodies to the occipitocervical junction. When the center of gravity does not fall through the area of support, it is unstable at that moment.

Gait cycle is defined as the activity that occurs between the initial contact of one extremity and the subsequent initial contact of the same extremity. During a single gait cycle, each extremity passes through one stance phase and one swing phase. Stance phase occupies over 60% of the gait cycle during walking at average velocity. Stance phase includes initial contact, loading response, midstance, terminal stance, and preswing. Swing phase includes initial swing, mid swing, and terminal swing.

The average total displacement of the center of gravity in both the vertical and lateral directions is less than 2 inches in normal gait. The increase in displacement of the center of gravity increases the amount of energy for walking.

The purpose of using an orthosis is to enhance normal movement and to decrease abnormal posture and tone. Lower extremity orthoses can be used to correct abnormal gait patterns and to increase the efficiency of walking.

Lower extremity orthotics

An orthosis is classified as a static or dynamic device. A static orthosis is rigid and is used to support the weakened or paralyzed body parts in a particular position. A dynamic orthosis is used to facilitate body motion to allow optimal function. In all orthotic devices, 3 points of pressure are needed for proper control of a joint.

Principles

A lower limb orthosis should be used only for specific management of a selected disorder. The orthotic joints should be aligned at the approximate anatomic joints. Most orthoses use a 3-point system to ensure proper positioning of the lower limb inside the orthosis.

The orthosis selected should be simple, lightweight, strong, durable, and cosmetically acceptable. Considerations for orthotic prescription should include the 3-point pressure control system, static or dynamic stabilization, flexible material, and tissue tolerance to compression and shear force.

## MATERIALS

An orthosis can be constructed from metal, plastic, leather, synthetic fabrics, or any combination. Plastic materials, such as thermosetting and thermoplastics, are the materials most commonly used in the orthotic industry.

- Plastics

  - Thermosetting materials can be molded into permanent shape after heating. They do not return to their original consistency even after being reheated. Thermoplastic materials soften when heated and harden when cooled.

  - Low-temperature thermoplastics can be fabricated easily and rapidly with hot water or hot air and scissors, but they are used mainly in low stress activities.

  - High-temperature (polypropylene) thermoplastics require higher temperature (150°C) to mold, but they are ideal for high stress activities.

- Leather, such as cattle hide, is used for shoe construction because it conducts heat and absorbs water well.

- Rubber

  - Rubber has tough resiliency and shock-absorbing qualities.

  - Rubber is used for padding in body jackets and limb orthoses.

- Metal

  - Metals, such as stainless steel and aluminum alloys, are adjustable, but they are heavy and not cosmetically pleasing.

  - Metals can be used for joint components, metal uprights, sprints, and bearings.

## SHOES AND FOOT ORTHOTICS

Shoes

Shoes are the important foundation of the lower limb orthosis. Shoes are used to protect and warm the feet, transfer body weight while walking, and reduce pressure or pain through redistributing weight. Shoes should be comfortable and properly fitted. They should be at least 1 cm longer than the longest toe and correspond to the shape of the feet.

The shoe can be divided into lower and upper parts. The lower parts consist of the sole, shank, ball, toe spring, and heel. The upper parts include the quarter, heel counter, vamp, toe box, tongue, and throat.

Parts of the shoe

- Sole

  - Outer and inner soles are separated by compressible filler. Both of them are made preferably of leather for breathability.

  - The ball is the widest part of the sole and corresponds to the area of the metatarsal heads.

  - The shank area is from the anterior border of the heel to the ball. A steel piece may be used to reinforce the shank area.

  - The toe spring is the space between the anterior sole and the floor.

- Heel

  - Leather with rubber on the plantar surface commonly is used for the heel.

  - A spring heel is one-eighth inch high.

  - An Oxford heel is three quarters to one inch high.

  - A military heel is one and one quarter inches high.

  - A Cuban heel is one and a half inches high.

  - The heel counter is the posterior portion of the upper part between the quarters. This structure is used to reinforce the quarters and support the calcaneus. The heel counter can increase the posterior stability of the shoe.

- Upper

  - The upper is the portion of the shoe above the sole.

  - The vamp is the anterior section.

  - The quarters are the posterior section.

  - The throat is the base of the tongue.

  - The tongue is a piece attached to the vamp.

  - The toe box is the reinforcement of the vamp to protect the shoe from trauma.

Rocker shoe.

:  Blucher style orthopedic shoe (top); diabetic shoe (bottom)

### Shoe modifications

A properly fitted shoe should have adequate room for the foot to expand while the patient is bearing weight. The shoe should be at least 1 cm longer than the longest toe, and the widest part also should correspond to the widest part of the foot. Shoes can be modified to reduce pressure on sensitive areas by redistributing weight toward pain-free areas.

External shoe modifications

- Heel modifications

  - A cushioned heel: A wedge of compressible rubber is inserted into the heel to absorb impact at heel strike. This cushion often is used with a rigid ankle to reduce the knee flexion moment by allowing for more rapid ankle plantar flexion.

  - A heel flare: A medial flare is used to resist inversion, and a lateral flare is used to resist eversion. Both flares are used to provide heel stability.

  - A heel wedge: A medial wedge is used to promote inversion, and a lateral wedge is used to promote eversion. The heel counter should be strong enough to prevent the hindfoot from sliding down the incline created by the wedge.

  - Extended heel: The Thomas heel projects anteriorly on the medial side to provide support to the medial longitudinal arch. The reverse Thomas heel projects anteriorly on the lateral side to provide stability to the lateral longitudinal arch.

  - Heel elevation: A shoe lift is used to compensate for fixed equinus deformity or for any leg-length discrepancy of more than one quarter of an inch.

Sole modifications

  - A rocker bar is a convex structure placed posterior to the metatarsal head. The rocker bar is used to shift the rollover point from metatarsal head to metatarsal shaft to avoid irritation of ulcers along the metatarsal head in patients with diabetes mellitus (DM).

  - A metatarsal bar is a bar with a flat surface placed posterior to the metatarsal head. The metatarsal bar is used to relieve the pressure from the metatarsal heads.

  - A sole wedge: A medial wedge is used to promote supination, and a lateral wedge is used to provide pronation.

  - A sole flare: A medial flare is used to resist inversion, and a lateral flare is used to resist eversion. Both flares promote great stability.

  - A steel bar: The steel bar is placed between the inner sole and outer sole. This bar is used to reduce forefoot motion to reduce the stress from phalanges and metatarsals.

- Combination of sole and heel modifications: If heel elevation is more than one half an inch, a sole elevation should be added to avoid equinus posture.

Internal shoe modifications

- Heel modifications

  - Heel cushion relief: This soft pad with excavation is placed under the painful point of the heel.

  - Heel wedges: A medial heel wedge can rotate the hindfoot into inversion. A lateral heel wedge can evert the hindfoot to avoid pressure on the cuboid.

- Sole modifications

  - Metatarsal pad: This domed pad is designed to reduce the stress from metatarsal heads by transferring the load to metatarsal shafts in metatarsalgia.

  - Inner sole excavation: A soft pad filled with compressible material is placed under one or more metatarsal heads.

  - Scaphoid pad: This type of pad extends from one half inch posterior to the first metatarsal head to the anterior tubercle of the calcaneus. The apex of the scaphoid pad is between the talonavicular joint and the navicular tuberosity. The scaphoid pad is used for medial arch support.

Foot orthosis

- The foot orthosis extends from the posterior border of the foot to a point just posterior to the metatarsal heads. This device is used to accommodate the abnormal foot to help restore more normalized lower limb biomechanics.

- UCBL (University of California at Berkeley Laboratory) insert: This insert is made of rigid plastic fabricated over a cast of the foot held in maximal manual correction. The UCBL encompasses the heel and midfoot, and it has rigid medial, lateral, and posterior walls.

- Heel cup: The heel cup is a rigid plastic insert that covers the plantar surface of the heel and extends posteriorly, medially, and laterally up the side of the heel. The heel cup is used to prevent lateral calcaneal shift in the flexible flat foot.

- Sesamoid insert: This addition to an orthosis is an insert amounting to three quarters of an inch with an extension under the hallux to transfer pressure off the short first metatarsal head and onto its shaft.

## ANKLE-FOOT ORTHOTICS

An AFO is commonly prescribed for weakness or paralysis of ankle dorsiflexion, plantar flexion, inversion, and eversion. AFOs are used to prevent or correct deformities and reduce weight bearing. The position of the ankle indirectly affects the stability of the knee with ankle plantar flexion providing a knee extension force and ankle dorsiflexion providing a knee flexion force. An AFO has been shown to reduce the energy cost of ambulation in a wide variety of conditions, such as spastic diplegia due to cerebral palsy, lower motor neuron weakness of poliomyelitis, and spastic hemiplegia in cerebral infarction.

Thermoplastic molded ankle-foot orthosis (posterior leaf spring, minimal resistance, moderate resistance, maximal resistance/solid ankle-foot orthosis).

- Thermoplastic AFOs: These devices are plastic molded AFOs, consisting of the following 3 parts: (1) a shoe insert, (2) a calf shell, and (3) a calf strap attached proximally. The rigidity depends on the thickness and composition of the plastic, as well as the trim line and shape. Thermoplastic AFOs are contraindicated in cases of fluctuating edema and insensation.

  - Posterior leaf spring (PLS): The PLS is the most common form of AFO with a narrow calf shell and a narrow ankle trim line behind the malleoli. The PLS is used for compensating for weak ankle dorsiflexors by resisting ankle plantar flexion at heel strike and during swing phase with no mediolateral control.

  - Spiral AFO: This AFO consists of a shoe insert, a spiral that starts medially, passes around the leg posteriorly, then passes anteriorly to terminate at the medial tibial flare where a calf band is attached. The spiral AFO allows for rotation in the transverse plane while controlling ankle dorsiflexion and plantar flexion, as well as eversion and inversion.

  - Hemispiral AFO: This AFO consists of a shoe insert with a spiral starting on the lateral side of the shoe insert, passing up the posterior leg, and terminating at the medial tibial flare where the calf band is attached. This design is used for achieving better control of equinovarus than the spiral AFO can.

  - Solid AFO: The solid AFO has a wider calf shell with trim line anterior to the malleoli. This AFO prevents ankle dorsiflexion and plantar flexion, as well as varus and valgus deviation.

  - AFO with flange: This AFO has an extension (flange) that projects from the calf shell medially for maximum valgus control and laterally for maximum varus control.

  - Hinged AFO: The adjustable ankle hinges can be set to the desired range of ankle dorsiflexion or plantar flexion.

  - Tone-reducing AFO (TRAFO): The broad footplate is used to provide support around most of the foot, extending distally under the toes and up over the foot medially and laterally to maintain the subtalar joint in normal alignment. The TRAFO is indicated for patients with spastic hemiplegia.

Metal and metal-plastic AFOs

This type of AFO consists of a shoe or foot attachment, ankle joint, 2 metal uprights (medial and lateral), with a calf band (application of force) connected proximally. The stirrup anchors the uprights to the shoes between the sole and the heel. The caliper is a round tube placed in the heel of the shoe, which connects to the uprights and also allows for easy detachability of the uprights. A molded shoe insert is another alternative to fit the stirrup into the shoe, which also allows maximum control of the foot and aligns the anatomic and mechanical ankles.

- Ankle joints: The mechanical ankle joints can control or assist ankle dorsiflexion or plantar flexion by means of stops (pins) or assists (springs). The mechanical ankle joint also controls mediolateral stability. Knee extension moment is promoted by ankle plantar flexion, and knee flexion moment is promoted by ankle dorsiflexion.

  - Free motion ankle joint: The stirrup has a completely circular top, which allows free ankle motion and provides only mediolateral stability.

  - Plantar flexion ankle joint stop: This ankle joint stop is produced by a pin inserted in the posterior channel of the ankle joint or by flattening the posterior lip of the stirrup's circular stop. The plantar flexion stop has a posterior angulation at the top of the stirrup that restricts plantar flexion but allows unlimited dorsiflexion and promotes knee flexion moment. This design is used in patients with weakness of dorsiflexion during swing phase and flexible pes equinus.

  - Dorsiflexion ankle joint stop: The stirrup has a pin inserted in the anterior channel of the ankle joint or by flattening the anterior lip of the stirrup's circular stop. The dorsiflexion stop has an anterior angulation at the top of the stirrup that restricts dorsiflexion but allows unlimited plantar flexion and promotes a knee extension moment in the meantime. This design is used in patients with weakness of plantar flexion during late stance.

  - Limited motion ankle joint stop: This ankle joint stop has anterior and posterior angulations at the top of the stirrup with restricted dorsiflexion and plantar flexion ankle motion. The limited motion ankle joint stop has a pin in the anterior and the posterior channel, and it is used in ankle weakness affecting all muscle groups.

  - Dorsiflexion assist spring joint: This joint has a coil spring in the posterior channel and helps to aid dorsiflexion during swing phase.

  - Varus or valgus correction straps (T-straps): A T-strap attached medially and circling the ankle until buckling on the outside of the lateral upright is used for valgus correction. A T-strap attached laterally and buckling around the medial upright is used for varus correction.

## KNEE-ANKLE-FOOT ORTHOTICS AND KNEE ORTHOTICS

KAFOs consist of an AFO with metal uprights, a mechanical knee joint, and 2 thigh bands. KAFO can be used in quadriceps paralysis or weakness to maintain knee stability and control flexible genu valgum or varum. KAFO also is used to limit the weight bearing of the thigh, leg, and foot with quadrilateral or ischial containment brim. A KAFO is more difficult to don and doff than an AFO, so it is not recommended for patients who have moderate-to-severe cognitive dysfunction.

- KAFO: This orthosis can be made of metal-leather and metal-plastic or plastic and plastic-metal. The metal design includes double upright metal KAFO (most common), single upright metal KAFO (lateral upright only), and Scott-Craig metal KAFO. The plastic designs are indicated for closer fit and maximum control of the foot, including supracondylar plastic KAFO, supracondylar plastic-metal KAFO, and plastic shells with metal uprights KAFO.

  - A double upright metal KAFO: This is an AFO with 2 metal uprights extending proximally to the thigh to control knee motion and alignment. This orthosis consists of a mechanical knee joint and 2 thigh bands between 2 uprights.

  - A Scott-Craig orthosis consists of a cushioned heel with a T-shaped foot plate for mediolateral stability, ankle joint with anterior and posterior adjustable stops, double uprights, a pretibial band, a posterior thigh band, and knee joint with pawl locks and bail control. Hyperextension of the hip allows the center of gravity falling behind the hip joint and in front of the locked knee and ankle joint. With 10° of ankle dorsiflexion alignment, it allows a swing-to or swing-through gait with crutches. This orthosis is used for standing and ambulation in patients with paraplegia due to spinal cord injury (SCI).

  - The supracondylar plastic orthosis uses immobilized ankle in slight plantar flexion to produce a knee extension moment in stance to help eliminate the need for a mechanical knee lock. This orthosis also resists genu recurvatum and provides mediolateral knee stability.

  - A plastic shell and metal upright orthosis consists of a posterior leaf spring AFO with double metal uprights extending up to a plastic shell in the thigh with an intervening knee joint.

- Knee joints: The mechanical knee joint can be polycentric or single axis. Polycentric is used for significant knee motion, and a single axis is more common and is used for knee stabilization. Single axis knee joints include the following:

  - Free motion knee joint: This joint has unrestricted knee flexion and extension with a stop to prevent hyperextension. The free motion knee joint is used for patients with recurvatum but good strength of the quadriceps to control knee motion.

  - Offset knee joint: The hinge is located posterior to the knee joint and ground reaction force; thus, it extends the knee and provides great stability during early stance phase of the gait cycle. This joint flexes the knee freely during swing phase and is contraindicated with knee or hip flexion contracture and ankle plantar flexion stop.

  - Drop ring lock knee joint: The drop ring lock is the most commonly used knee lock to control knee flexion. The rings drop to unlock over the knee joint while the knee is in extension by gravity or manual assistance. This type of joint is stable, but gait is stiff without knee motion. A ball bearing on a spring can be added just above the drop lock to keep it from slipping up as the patient ambulates. Patients over 120 pounds usually feel more secure with both medial and lateral drop locks.

  - Pawl lock with bail release knee joint: The semicircular bail attaches to the knee joint posteriorly, and it can unlock both joints easily by pulling up the bail or backing up to sit down in a chair. A major drawback is the accidental unlocking while the patient is pulling his or her pants up or bumping into a chair.

  - Adjustable knee lock joint (dial lock): The serrated adjustable knee joint allows knee locking at different degrees of flexion. This type of knee joint is used in patients with knee flexion contractures that are improving gradually with stretching.

  - Ischial weight bearing: Most individuals in a KAFO sit partially on the upper thigh band unless the cuff is brought up above the ischium.

- Knee cap and strap: The knee cap can be placed in front of the knee in the orthosis to prevent flexion of the knee. A medial strap is used for genu valgum and a lateral strap is used for genu varum. These buckles wrap around the upright in the same way as ankle straps.

Knee orthoses

A knee orthosis (KO) only provides support or control of the knee but not of the foot and ankle. The knee joint is centered over the medial femoral condyle. If the patient does not have adequate gastrocnemius delineation so that there is a shelf for the distal end of the orthosis to rest on, the brace may slide down the leg with wear. In that case, the brace needs to extend to the sole of the foot.

- Knee orthoses for patellofemoral disorder: These orthoses are used to supply mediolateral knee stability and to control tracking of the patella during knee flexion and extension. This type of orthosis includes an infrapatellar strap KO and Palumbo KO.

- Knee orthoses for knee control in the sagittal plane: These orthoses are used to control genu recurvatum with minimal mediolateral stability. This type of KO includes a Swedish knee cage and a 3-way knee stabilizer.

- Knee orthoses for knee control in the frontal plane: These orthoses consist of thigh and calf cuffs joined by sidebars with mechanical knee joints. The knee joint usually is polycentric and closely mimics the anatomic joint motion. This type of KO includes traditional metal-leather KO, Miami KO, Canadian Arthritis and Rheumatism Society-University of British Columbia KO, and supracondylar KO.

- Knee orthoses for axial rotation control: These orthoses can provide angular control of flexion-extension and mediolateral planes, in addition to controlling axial rotation. This orthosis is used mostly in management of sports injuries of the knee. This type of KO includes Lenox-Hill derotation orthosis and Lerman multiligamentous knee control orthosis.

## HIP-KNEE-ANKLE-FOOT ORTHOTICS

An HKAFO consists of a hip joint and pelvic band in addition to a KAFO. The orthotic hip joint is positioned with the patient sitting upright at 90°, while the orthotic knee joint is centered over the medial femoral condyle. Pelvic bands complicate dressing after toileting unless the orthosis is worn under all clothing. Pelvic bands increase the energy demands for ambulation.

- Pelvic bands

  - Bilateral pelvic band: This band is used more commonly with its posterior metal ends located anterior to the lateral midline of the pelvis and is interconnected by a flexible belt.

  - Unilateral pelvic band: This band rarely is used because most conditions requiring a HKAFO have bilateral involvement.

  - Pelvic girdle: The pelvic girdle is made of molded thermoplastic materials, providing a maximum degree of control in patients with bilateral involvement.

  - Silesian belt: This belt has no metal or rigid band and offers mild resistance to abduction and rotation of the hip. The Silesian belt attaches to the lateral upright and encircles the pelvis.

- Hip joints and locks: The hip joint can prevent abduction and adduction as well as hip rotation.

  - Single axis hip joint with lock: This joint is the most common hip joint with flexion and extension. The single axis hip joint with lock may include an adjustable stop to control hyperextension.

  - Two-position lock hip joint: This hip joint can be locked at full extension and 90° of flexion and is used for hip spasticity control in a patient who has difficulty maintaining a seated position.

  - Double axis hip joint: This hip joint has a flexion-extension axis and abduction-adduction axis to control these motions.

## TRUNK-HIP-KNEE-ANKLE-FOOT ORTHOTICS

A THKAFO consists of a spinal orthosis in addition to a HKAFO for control of trunk motion and spinal alignment. A THKAFO is indicated in patients with paraplegia and is very difficult to don and doff.

- Reciprocating gait orthosis (RGO): An RGO consists of bilateral KAFOs with posteriorly offset locking knee joints, hip joints, and a custom-molded pelvic girdle with a thoracic extension. The hip joints are coupled with cables preventing bilateral hip flexion simultaneously. The hip extension on one side coupling hip flexion on the other side through the cables produces reciprocal walking gait pattern. The RGO combined with functional electronic stimulation (FES) can be used for 2-point or 4-point gait patterns in ambulatory paraplegic or tetraplegic (C8) patients. Using the RGO with FES can double the patient's optimum gait speed, lower blood pressure and heart rate, and increase oxygen uptake as compared to ambulating with the RGO without FES.

- Para walker: This device is a hip guidance orthosis, which consists of bilateral KAFOs with a ball bearing hip joint and a body brace. Ambulation is performed through trunk motion transmitted to the lower extremities with hip flexion and extension via the brace. Hip flexion is restricted by a stop, and hip extension may be free or limited by a stop. The para walker is developed for patients with SCI. A study of 5 paraplegic patients found an average reduction in oxygen consumption of 27%, with 33% faster ambulatory rate compared to the RGO.

- Parapodium: This device is developed for pediatric myelodysplastic patients to allow them to stand without crutches for functional activities with their upper limbs free. The parapodium consists of a shoe clamp, aluminum uprights, a foam knee block, and back and chest panels. Hip and knee may be locked for standing and unlocked for sitting. A torque converter under the base allows side-to-side rocking to be translated into forward propulsion.

- Standing frame: This allows standing but does not permit hip and knee flexion. The standing frame is used for children to learn standing balance and achieve a swing-through gait.

## SPECIAL PURPOSE LOWER LIMB ORTHOTICS

Weight-bearing orthoses: This orthosis is designed to eliminate weight bearing through the lower extremities. Weight-bearing orthoses consist of patellar-tendon–bearing orthosis (PTBO), ischial weight-bearing orthosis, and patten bottom with uprights terminated in a floor pad or patten distal to the shoe.

- Fracture orthoses: This orthosis stabilizes the fracture site and promotes callus formation, while allowing weight bearing and joint movement after initial subsiding pain and edema. The bony motion at the fracture site is prevented through circumferential compression of the soft tissue. Fracture orthoses include the tibial fracture orthosis and femoral fracture orthosis.

- Angular and deformity orthoses: This orthosis is used in the pediatric population. The Denis Brown splint is for clubfoot. A frame orthosis applies corrective forces to proximal rotational deformities. A torsion shaft orthosis is used in mild scissoring gait of spastic diplegia.

- Congenital hip dislocation orthoses, such as Pavlik harness, Ilfeld splint, and VonRosen splint are used to maintain the hip in flexion and abduction position to hold the femoral head within the acetabulum.

- The Scottish Rite, Toronto, and non–skeletal-bearing trilateral orthoses are used in Legg-Calve-Perthes disease to maintain the hip in abduction and keep the femoral head in the acetabulum.

:Rocker shoe.

:Blucher style orthopedic shoe (top); diabetic shoe (bottom)

Thermoplastic molded ankle-foot orthosis (posterior leaf spring, minimal resistance, moderate resistance, maximal resistance/solid ankle-foot orthosis).

Modular ankle-foot orthosis with double adjustable hinged joint ankle-foot orthosis.

Flesh colored plastic Gelett joint with dorsiflexion assist ankle-foot orthosis.

Double upright metal ankle-foot orthosis.

Carbon plastic ankle-foot orthosis with footplate.

Double upright metal knee-ankle-foot orthosis.

Plastic shell and metal uprights molded knee-ankle-foot orthosis with drop lock joints.

Offset knee joint knee-ankle-foot orthosis.

Drop ring lock knee joint knee-ankle-foot orthosis.

# Text boxes

These principles are:

Pressure

equilibrium

The lever arm

Types of orthosis

Upper limb orthosis

Spinal

orthosis

Lower limb orthosis